## Risk Overview
How to Use the Risk-Based Decision-Making Framework
Managing risk effectively in a strata-managed building requires a structured and defensible approach. This framework will help you assess, prioritise, and mitigate risks identified in your Essential Safety Measures (ESM) reports, Building Risk Reviews, and OH&S assessments.
🔹 Step 1: Identify & Categorise Risks
Start by reviewing the defects, hazards, and compliance issues identified in your reports. For each issue, determine which of the three main risk categories it falls under:
✅ Life Safety & Legal Risks (e.g., sprinkler system non-functional, fire door propped open, trip hazard in emergency exit path)
✅ Property & Insurance Risks (e.g., unsealed roofing leaks, persistent plumbing issues, non-compliant cladding)
✅ Financial & Operational Risks (e.g., inadequate sinking fund for future repairs, service contract with gaps in compliance obligations)
Tip: Keep the description brief but clear, e.g.,
"Sprinkler system not maintained"
"Tree root trip hazard in pedestrian pathway"
🔹 Step 2: Assess the Likelihood & Consequence
For each identified risk, assess:
1️⃣ Likelihood (1-5): How likely is it that this issue will result in an incident or negative outcome?
1 = Rare (Very unlikely to happen)
5 = Almost Certain (It will happen if not addressed)
2️⃣ Consequence (1-5): If the issue does occur, how severe would the impact be?
1 = Insignificant (No real harm, minor inconvenience)
5 = Catastrophic (Loss of life, major structural damage, severe financial impact)
Multiply the Likelihood by the Consequence to get a Risk Score.
🔹 Step 3: Determine the Risk Level
Using the Risk Score, refer to the Risk Matrix in this playbook to determine the corresponding Risk Level:
Low Risk (1-4) → Monitor, document, and review periodically.
Medium Risk (5-9) → Plan for mitigation within a reasonable timeframe.
High Risk (10-15) → Needs active management and prioritised rectification.
Extreme Risk (16-25) → Immediate action required—high priority for mitigation.
🚨 Extreme risks should always be addressed as a priority, as they present a serious legal, financial, or safety issue.
🔹 Step 4: Identify & Document Risk Mitigations
For any risk that requires mitigation, document the appropriate action:
✅ If an existing mitigation is in place, state it (e.g., "Sprinkler system backed up by hydrants—no further action needed.").
✅ If no mitigation exists, create an action task that details what needs to be done to reduce the risk (e.g., "Engage contractor to repair and certify sprinkler system.").
Tip: Keep mitigation actions clear and assign responsibilities so the issue doesn’t get overlooked.
🔹 Step 5: Review & Implement the Findings
Once risks are prioritised and mitigation plans are in place:
✅ Ensure high-priority risks are addressed first.
✅ Regularly review the framework to track progress and update statuses.
✅ Present findings to the Owners Corporation (OC) and insurers to demonstrate proactive risk management.
🚀 By following this structured approach, you’ll improve building safety, reduce financial exposure, and ensure defensible decision-making for your Owners Corporation.
📌 Final Thought
This framework is designed to simplify risk assessment and prioritisation, ensuring your resources are allocated efficiently and that urgent risks aren’t overlooked. A structured approach makes risk management proactive, not reactive—leading to safer, smarter, and more financially sound buildings.

## Risk Assesment Chart
Owners Corporation Name |  | (enter here)
Strata Manager's Name |  | (enter here)
Risk must be rated through a good-faith effort by personnel with knowledge of the relevant tasks, processes, and exposures. All risks and mitigants should align with the Owners Corporation Risk Appetite.
RISK ASSESSMENT MATRIX |  |  |  |  | CONSEQUENCE | Life Safety and Legal | Property and Insurance | Financial and Operational
5 | 10 | 15 | 20 | 25 | Catastrophic (5)
4 | 8 | 12 | 16 | 20 | Major (4)
3 | 6 | 9 | 12 | 15 | Moderate (3)
2 | 4 | 6 | 8 | 10 | Minor (2)
1 | 2 | 3 | 4 | 5 | Insignificant (1)
Rare (1) | Unlikely (2) | Possible (3) | Likely (4) | Almost Certain (5) | LIKELIHOOD OF OCCURRENCE
Possible in exceptional circumstances | Highly unlikely to occur | Event that may occur once | Event that may occur (<once per year). | Recurring event and may happen >once per year.
[5 empty] | Rating Level | Response suggested for risks identified
[5 empty] | Extreme | Urgent action required. Identify key actions/milestones to be accomplished. Reject, Avoid or Mitigate
[5 empty] | High | Action required. Ensure risks are assesed on a regular basis and moved up or down the cycle depending on mitigants. Reject, Avoid or Mitigate
[5 empty] | Medium | Monitoring required proactive measures needed to prevent transition to Actionable or Monitor. No Plan required. Accept of Mitigate
[5 empty] | Low | Monitor for trends and patterns which may indicate increasing or decreasing risk. Accept Risk

## Life Safety & Legal
Owners Corporation Name |  | (enter here)
RISK | DESCRIPTION | LIKELIHOOD | CONSEQUENCE | Rating | Level | MITIGANT | TASK | RESPONSIBILITY | REVIEW

## Property & Insurance
Owners Corporation Name |  | (enter here)
RISK | DESCRIPTION | LIKELIHOOD | CONSEQUENCE | Rating | Level | MITIGANT | TASK | RESPONSIBILITY | REVIEW

## Financial & Operational
Owners Corporation Name |  | (enter here)
RISK | DESCRIPTION | LIKELIHOOD | CONSEQUENCE | Rating | Level | MITIGANT | TASK | RESPONSIBILITY | REVIEW

## Settings (hidden)
Extreme | Almost Certain (5)
High | Likely (4)
Medium | Possible (3)
Low | Unlikely (2)
Rare (1)
Catastrophic (5)
Significant (4)
25 | Moderate (3)
20 | Minor (2)
16 | Insignificant (1)
15
12
10
9
8
6
5
4
3
2
1